FIRE EXTINGUISHERS

LOCATION OF FIRE EXTINGUISHERS

- Water Extinguisher and Powder Extinguisher - Outdoor equipment room.

- Multi Purpose Powder Extinguisher - Kitchen beside back door.

- Fire Blanket - Kitchen

- Water Extinguisher - Creche.

- Water Extinguisher - Bottom of stairs in small alcove.

- Water Extinguisher and Carbon Dioxide CO2 - Top of first flight of stairs.

- Water Extinguisher and Carbon Dioxide CO2 - Top flight of stairs outside the meeting room.

HOW TO USE

- Keep upright, pull out pin.

- Aim nozzle at the base of the flames, squeeze the lever and keep it moving across the area of the fire.  Ensure that all areas of the fire are out.

07/06/2011

TYPES OF EXTINGUSHER AT PRISM

All new portable fire extinguishers are now coloured red with a zone of colour which indicates the contents of the extinguisher.  This colour indication appears on the front of the extinguisher above the operating instructions and will be clearly visible when it is correctly mounted.

| TYPE | COLOURS | HOW IT WORKS |
| --- | --- | --- |
| Standard Dry Powder or Multi Purpose Dry Powder | BLUE LABEL | Standard Dry Powder - best for liquids such as grease, fats, oil, paint, petrol. Multi Purpose Dry Powder – best for wood, cloth, paper, plastics, coal etc, fires involving solids, liquids such as grease, fats, oils, paint, petrol etc. |
| Water | RED LABEL | Best for wood, cloth, paper, plastics, coal etc, fires involving solids. |
| Carbon Dioxide CO2 | BLACK LABEL | Best for liquids such as grease, fats, oil, paint, petrol etc, electrical equipment. |

*Fire extinguishers must not be used on chip or fat pan fires as the jet from the extinguisher may force burning fat out of the pan.

28/07/2026

Paul Craven